BMP Pump System

Inspection and Maintenance Checklist

Property Address: ___________________________________ Property Owner: ________________________________

Treatment Measure No: ______________________ Date of Inspection: _____________________ Inspector(s): ________________

Type of Inspection:         ○ Storm 	                  ○ Monthly 	                  ○ Quarterly	                      ○ Annual

| Defect | Conditions When Maintenance is Needed | Maintenance Needed? (Y/N) | Comments (If needed maintenance was not conducted, note when it will be done; or comment on any work that was done) | Results Expected When Maintenance is performed |
| --- | --- | --- | --- | --- |
| Debris, Sediment | Build up of 6 inches in center of pump vault |  |  | Remove sediment and debris with vacuum unitl or by hand |
| Floatables | Layer of floatables covers over half water surface |  |  | Remove floatables with vacuum unit, long scoop net or by hand |
| Pump Test | Pump does not start from control panel |  |  | Identify failed control or equipment and repair |
| Control Test | Pumps do not start from float switch |  |  | Identify failed control or equipment and repair |
| Equipment Wear | Observed worn, loose or missing equipment |  |  | Repair as necessary |
| Mosquitoes Present | Mosquito larvae evident in standing water |  |  | Contact Alameda County Mosquito Abatement District |